Ballinagar (BXGA) - cabinet

Friday 31 October 2025

09:44

https://photos.app.goo.gl/Ne1HVToZ2YrJZALC9

Power Distribution has alarm, can't communicate with the rectifiers. Issue reported 3.11. '25.

Overall voltage: 53.95 V

Overall voltage:53.04

| Cell 1 | Cell 2 | Cell 3 | Cell 4 |
| --- | --- | --- | --- |
| 13.51V | 13.48V | 13.45V | 13.42V |
| 13.22 | 13.25 | 13.26 | 13.26 |

3 rectifiers

| Float Voltage |  |  |
| --- | --- | --- |
| Rectifier Current |  |  |
| Boost Voltage |  |  |
| Low Voltage |  |  |
| High Voltage |  |  |